## Room Location Summary Table
Project Number: |  | 16313 |  |  |  | Date(s) of Current Survey: |  | 2015-02-18
Building Name: |  | Raymond Desmarais Building – District #1 |  |  |  | Organization Completing Survey: |  | ECOH
Building Address: |  | 255 Riverside Drive, Windsor, Ontario |  |  |  | Facilty Coordinator:
Location Number | Location Name | Building System | Material Observed | Potential Hazardous Material | Sample ID | Analytical Result | Quantity | Condition | Access | Friable (Y/N) | Abatement Priority | Abatement Cost Estimate | Notes or Other Observations
0000 | Exterior | Walls | Caulking | Asbestos | 16313-255RIV-ASB-06 | None Detected | - | - | - | - | - | - | Grey Expansion Caulking | 1
0000 | Exterior | Walls | Caulking | Asbestos | 16313-255RIV-ASB-07 | None Detected | - | - | - | - | - | - | White caulking around balcony doors | 1
10001 | Mechanical Room | - | - | - | - | - | - | - | - | - | - | - | No suspect ACM identified. | 2
100 | 1st Floor Corridor | Ceiling | Ceiling Tile 4 | Asbestos | 16313-255RIV-ASB-17A to C | None Detected | - | - | - | - | - | - | CT4- 2'x4' Faux 2'x2' | 3
100 | 1st Floor Corridor | Walls | Plaster | Asbestos | 16313-255RIV-ASB-101A | None Detected | - | - | - | - | - | - |  | 3
100 | 1st Floor Corridor | Walls | Drywall Joint Compound | Asbestos | Visually Consistent with 16313-255RIV-ASB-02 | None Detected | - | - | - | - | - | - |  | 3
101 | Repair and Maintenance Room | Ceiling | Ceiling Tile 4 | Asbestos | Visually Consistent with 16313-255RIV-ASB-17 | None Detected | - | - | - | - | - | - | CT4- 2'x4' Faux 2'x2' | 4
101 | Repair and Maintenance Room | Walls | Plaster | Asbestos | 16313-255RIV-ASB-01C | None Detected | - | - | - | - | - | - |  | 4
102 | Laundry Room | Ceiling | Ceiling Tile 4 | Asbestos | Visually Consistent with 16313-255RIV-ASB-17 | None Detected | - | - | - | - | - | - | CT4- 2'x4' Faux 2'x2' | 5
102 | Laundry Room | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 5
102 | Laundry Room | Walls | Drywall Joint Compound | Asbestos | Visually Consistent with 16313-255RIV-ASB-02 | None Detected | - | - | - | - | - | - |  | 5
103 | Washroom | Ceiling | Ceiling Tile 4 | Asbestos | Visually Consistent with 16313-255RIV-ASB-17 | None Detected | - | - | - | - | - | - | CT4- 2'x4' Faux 2'x2' | 6
103 | Washroom | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 6
104 | Washroom | Ceiling | Ceiling Tile 4 | Asbestos | Visually Consistent with 16313-255RIV-ASB-17 | None Detected | - | - | - | - | - | - | CT4- 2'x4' Faux 2'x2' | 7
104 | Washroom | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 7
105 | Hyrdo Room | - | - | - | - | - | - | - | - | - | - | - | No access to location during 2016 ECOH Survey. | 8
106 | Electrical Room | - | - | - | - | - | - | - | - | - | - | - | No suspect ACM identified. | 9
107 | Vesitbule | Ceiling | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 10
107 | Vesitbule | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 10
108 | Recycling Room | Ceiling | Ceiling Tile 1 | Asbestos | 16313-255RIV-ASB-014A and B | None Detected | - | - | - | - | - | - | CT1- 2'x4' Small Pinhole Small Fissure | 11
108 | Recycling Room | Ceiling | Ceiling Tile 2 | Asbestos | 16313-255RIV-ASB-015A | 2% Amosite | 50 SF | Good | C | Y | 3 | - | CT2- 2'x4' Lengthwise Fissure | 11
108 | Recycling Room | Ceiling | Ceiling Tile 3 | Asbestos | 16313-255RIV-ASB-016A | None Detected | - | - | - | - | - | - | CT3- 2'x4' Widthwise Fissure | 11
108 | Recycling Room | Walls | Drywall Joint Compound | Asbestos | 16313-255RIV-ASB-02A and B | None Detected | - | - | - | - | - | - |  | 11
109 | Recycling Room Storage | Piping | Parging Cement Fitting | Asbestos | 16313-255RIV-ASB-05A to C | 40% Chrysotile | 4 EA | Good | C | Y | 3 | - |  | 12
110 | Garbage Room | Floor | Parging Cement Fitting | Asbestos | Visually Consistent with16313-255RIV-ASB-05 | 40% Chrysotile | 1 EA | Good | C | Y | 3 | - |  | 13
111 | Janitor Supply Room | Floor | Vinyl Floor Tile 2 | Asbestos | Visually Consistent with 16313-255RIV-ASB-09 | None Detected | - | - | - | - | - | - | VFT2- 12"X12" Beige with Brown Streaks | 14
111 | Janitor Supply Room | Floor | Mastic | Asbestos | Visually Consistent with 16313-255RIV-ASB-09 | 2% Chrysotile | 100 SF | Good | D | N | 3 | - | Mastic present under VFT2 | 14
111 | Janitor Supply Room | Ceiling | Texture Finish | Asbestos | Previously Sampled | 1-4% Chrysotile | 100 SF | Good | C | Y | 3 | - |  | 14
111 | Janitor Supply Room | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 14
111 | Janitor Supply Room | Walls | Drywall Joint Compound | Asbestos | Visually Consistent with 16313-255RIV-ASB-02 | None Detected | - | - | - | - | - | - |  | 14
112 | Manager Office | Ceiling | Ceiling Tile 2 | Asbestos | Visually Consistent with 16313-255RIV-ASB-15 | 2% Amosite | 350 SF | Good | C | Y | 3 | - | CT2- 2'x4' Lengthwise Fissure | 15
112 | Manager Office | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 15
112 | Manager Office | Walls | Drywall Joint Compound | Asbestos | Visually Consistent with 16313-255RIV-ASB-02 | None Detected | - | - | - | - | - | - |  | 15
113 | Appliance Storage | Floor | Vinyl Floor Tile 3 and Mastic | Asbestos | Visually Consistent with 16313-255RIV-ASB-10 | 2% Chrysotile | 150 SF | Good | A | N | 3 | - | VFT3- 12"x12" Beige with Brown Lines and Associated Mastic | 16
113 | Appliance Storage | Ceiling | Ceiling Tile 3 | Asbestos | Visually Consistent with 16313-255RIV-ASB-16 | None Detected | - | - | - | - | - | - | CT3- 2'x4' Widthwise Fissure | 16
113 | Appliance Storage | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 16
114 | Office | Floor | Vinyl Floor Tile 4 | Asbestos | Visually Consistent with 16313-255RIV-ASB-11 | 2% Chrysotile | 150 SF | Good | A | N | 3 | - | VFT4- 12"x12" Beige with Brown and Yellow Streaks | 17
114 | Office | Ceiling | Ceiling Tile 4 | Asbestos | Visually Consistent with 16313-255RIV-ASB-17 | None Detected | - | - | - | - | - | - | CT4- 2'x4' Faux 2'x2' | 17
114 | Office | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 17
115 | Storage | Floor | Vinyl Floor Tile 2 | Asbestos | Visually Consistent with 16313-255RIV-ASB-09 | None Detected | - | - | - | - | - | - | VFT2- 12"X12" Beige with Brown Streaks | 18
115 | Storage | Floor | Mastic | Asbestos | Visually Consistent with 16313-255RIV-ASB-09 | 2% Chrysotile | 100 SF | Good | D | N | 3 | - | Mastic present under VFT2 | 18
115 | Storage | Ceiling | Texture Finish | Asbestos | Previously Sampled | 1-4% Chrysotile | 100 SF | Good | C | Y | 3 | - |  | 18
115 | Storage | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 18
115 | Storage | Walls | Drywall Joint Compound | Asbestos | Visually Consistent with 16313-255RIV-ASB-02 | None Detected | - | - | - | - | - | - |  | 18
116 | Janitor's Room | Ceiling | Texture Finish | Asbestos | Previously Sampled | 1-4% Chrysotile | 75 SF | Poor | C | Y | 1 | 3000 | Approx. 10 SF POOR condition | 23
116 | Janitor's Room | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 23
117 | Sitting Room | Floor | Vinyl Floor Tile 2 | Asbestos | Visually Consistent with 16313-255RIV-ASB-09 | None Detected | - | - | - | - | - | - | VFT2- 12"X12" Beige with Brown Streaks | 22
117 | Sitting Room | Floor | Mastic | Asbestos | Visually Consistent with 16313-255RIV-ASB-09 | 2% Chrysotile | 200 SF | Good | A | N | 3 | - | Mastic present under VFT2 | 22
117 | Sitting Room | Ceiling | Ceiling Tile 4 | Asbestos | Visually Consistent with 16313-255RIV-ASB-17 | None Detected | - | - | - | - | - | - | CT4- 2'x4' Faux 2'x2' | 22
117 | Sitting Room | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 22
117 | Sitting Room | Walls | Drywall Joint Compound | Asbestos | 16313-255RIV-ASB-02C | None Detected | - | - | - | - | - | - |  | 22
118 | Vestibule | Ceiling | Ceiling Tile 4 | Asbestos | Visually Consistent with 16313-255RIV-ASB-17 | None Detected | - | - | - | - | - | - | CT4- 2'x4' Faux 2'x2' | 23
118 | Vestibule | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 23
119 | Mail Room | - | - | - | - | - | - | - | - | - | - | - | No access to location during 2016 ECOH Survey. | 24
120 | Granny's Nook | Floor | Vinyl Floor Tile 4 | Asbestos | 16313-255RIV-ASB-11A to C | 2% Chrysotile | 300 SF | Good | A | N | 3 | - | VFT4- 12"x12" Beige with Brown and Yellow Streaks | 25
120 | Granny's Nook | Ceiling | Ceiling Tile 4 | Asbestos | Visually Consistent with 16313-255RIV-ASB-17 | None Detected | - | - | - | - | - | - | CT4- 2'x4' Faux 2'x2' | 25
120 | Granny's Nook | Walls | Plaster | Asbestos | 16313-255RIV-ASB-01B | None Detected | - | - | - | - | - | - |  | 25
120 | Granny's Nook | Walls | Drywall Joint Compound | Asbestos | 16313-255RIV-ASB-02D | None Detected | - | - | - | - | - | - | Blue paint on duct. Non-lead based. | 25
121 | Coffee Shop and Storage | Floor | Vinyl Floor Tile 2 | Asbestos | 16313-255RIV-ASB-09C | None Detected | - | - | - | - | - | - | VFT2- 12"X12" Beige with Brown Streaks | 26
121 | Coffee Shop and Storage | Floor | Mastic | Asbestos | 16313-255RIV-ASB-09C | 2% Chrysotile | 250 SF | Good | D | N | 3 | - | Mastic present under VFT2 | 26
121 | Coffee Shop and Storage | Floor | Vinyl Floor Tile 4 | Asbestos | Visually Consistent with 16313-255RIV-ASB-11 | 2% Chrysotile | 50 SF | Good | D | N | 3 | - | VFT4- 12"x12" Beige with Brown and Yellow Streaks | 26
121 | Coffee Shop and Storage | Ceiling | Ceiling Tile 1 | Asbestos | Visually Consistent with 16313-255RIV-ASB-14 | None Detected | - | - | - | - | - | - | CT1- 2'x4' Small Pinhole Small Fissure | 26
121 | Coffee Shop and Storage | Ceiling | Ceiling Tile 2 | Asbestos | Visually Consistent with 16313-255RIV-ASB-15 | 2% Amosite | 150 SF | Good | C | Y | 3 | - | CT2- 2'x4' Lengthwise Fissure | 26
121 | Coffee Shop and Storage | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 26
121 | Coffee Shop and Storage | Walls | Drywall Joint Compound | Asbestos | Visually Consistent with 16313-255RIV-ASB-02 | None Detected | - | - | - | - | - | - |  | 26
122 | Library | Ceiling | Ceiling Tile 4 | Asbestos | Visually Consistent with 16313-255RIV-ASB-17 | None Detected | - | - | - | - | - | - | CT4- 2'x4' Faux 2'x2' | 27
122 | Library | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 27
122 | Library | Walls | Drywall Joint Compound | Asbestos | Visually Consistent with 16313-255RIV-ASB-02 | None Detected | - | - | - | - | - | - |  | 27
122 | Library | Walls | Drywall Joint Compound | Mould | N/A | Visually Confirmed | 5 SF | Poor | A | N | - | - | 5 SF of Mould present around A/C unit | 27
123 | Unit 101 | Floor | Vinyl Floor Tile 2 | Asbestos | Visually Consistent with 16313-255RIV-ASB-09 | None Detected | - | - | - | - | - | - | VFT2- 12"X12" Beige with Brown Streaks | 28
123 | Unit 101 | Floor | Mastic | Asbestos | Visually Consistent with 16313-255RIV-ASB-09 | 2% Chrysotile | 800 SF | Good | D | N | 3 | - | Mastic present under VFT2 | 28
123 | Unit 101 | Ceiling | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 28
123 | Unit 101 | Ceiling | Texture Finish | Asbestos | Previously Sampled | 1-4% Chrysotile | 300 SF | Good | C | Y | 3 | - |  | 28
123 | Unit 101 | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 28
123 | Unit 101 | Light Fixture | Heat Shield | Asbestos | Not Sampled | ACM Assumed | 3 EA | Good | D | Y | 3 | - | Present underneath light fixtures | 28
124 | Unit 102 | Floor | Vinyl Floor Tile 2 | Asbestos | 16313-255RIV-ASB-09B | None Detected | - | - | - | - | - | - | VFT2- 12"X12" Beige with Brown Streaks | 29
124 | Unit 102 | Floor | Mastic | Asbestos | 16313-255RIV-ASB-09B | 2% Chrysotile | 750 SF | Good | D | N | 3 | - | Mastic present under VFT2 | 29
124 | Unit 102 | Floor | Vinyl Sheet Flooring 2 | Asbestos | 16313-255RIV-ASB-13A to C | None Detected | - | - | - | - | - | - | VSF2- Small Grey/White Squares | 29
124 | Unit 102 | Ceiling | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 29
124 | Unit 102 | Ceiling | Texture Finish | Asbestos | Previously Sampled | 1-4% Chrysotile | 300 SF | Poor | C | Y | 1 | 12000 | Approx. 20 SF POOR condition | 29
124 | Unit 102 | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 29
124 | Unit 102 | Light Fixture | Heat Shield | Asbestos | Not Sampled | ACM Assumed | 3 EA | Good | D | Y | 3 | - | Present underneath light fixtures | 29
203 | Unit 203 | Floor | Vinyl Floor Tile 3 and Mastic | Asbestos | Visually Consistent with 16313-255RIV-ASB-10 | 2% Chrysotile | 500 SF | Good | A | N | 3 | - | VFT3- 12"x12" Beige with Brown Lines and Associated Mastic | 30
203 | Unit 203 | Ceiling | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 30
203 | Unit 203 | Ceiling | Texture Finish | Asbestos | Previously Sampled | 1-4% Chrysotile | 300 SF | Good | C | Y | 3 | - |  | 30
203 | Unit 203 | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 30
214 | Unit 214 | Floor | Vinyl Floor Tile 3 and Mastic | Asbestos | Visually Consistent with 16313-255RIV-ASB-10 | 2% Chrysotile | 500 SF | Good | A | N | 3 | - | VFT3- 12"x12" Beige with Brown Lines and Associated Mastic | 31
214 | Unit 214 | Ceiling | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 31
214 | Unit 214 | Ceiling | Texture Finish | Asbestos | Previously Sampled | 1-4% Chrysotile | 300 SF | Good | C | Y | 3 | - |  | 31
214 | Unit 214 | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 31
215 | Unit 215 | Floor | Vinyl Floor Tile 3 and Mastic | Asbestos | Visually Consistent with 16313-255RIV-ASB-10 | 2% Chrysotile | 500 SF | Good | A | N | 3 | - | VFT3- 12"x12" Beige with Brown Lines and Associated Mastic | 32
215 | Unit 215 | Ceiling | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 32
215 | Unit 215 | Ceiling | Texture Finish | Asbestos | Previously Sampled | 1-4% Chrysotile | 300 SF | Good | C | Y | 3 | - |  | 32
215 | Unit 215 | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 32
303 | Unit 303 | Floor | Vinyl Floor Tile 3 and Mastic | Asbestos | 16313-255RIV-ASB-10A | 2% Chrysotile | 500 SF | Good | A | N | 3 | - | VFT3- 12"x12" Beige with Brown Lines and Associated Mastic | 33
303 | Unit 303 | Ceiling | Plaster | Asbestos | 16313-255RIV-ASB-10A | None Detected | - | - | - | - | - | - |  | 33
303 | Unit 303 | Ceiling | Texture Finish | Asbestos | Previously Sampled | 1-4% Chrysotile | 300 SF | Good | C | Y | 3 | - |  | 33
303 | Unit 303 | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 33
307 | Unit 307 | Floor | Vinyl Floor Tile 3 and Mastic | Asbestos | Visually Consistent with 16313-255RIV-ASB-10 | 2% Chrysotile | 500 SF | Good | A | N | 3 | - | VFT3- 12"x12" Beige with Brown Lines and Associated Mastic | 34
307 | Unit 307 | Ceiling | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 34
307 | Unit 307 | Ceiling | Texture Finish | Asbestos | Previously Sampled | 1-4% Chrysotile | 300 SF | Good | C | Y | 3 | - |  | 34
307 | Unit 307 | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 34
308 | Unit 308 | Floor | Vinyl Floor Tile 3 and Mastic | Asbestos | Visually Consistent with 16313-255RIV-ASB-10 | 2% Chrysotile | 500 SF | Good | A | N | 3 | - | VFT3- 12"x12" Beige with Brown Lines and Associated Mastic | 35
308 | Unit 308 | Floor | Stick Ons | Asbestos | Not Sampled | Visually Negative | - | - | - | - | - | - | Stick-on tiles present under VFT3 | 35
308 | Unit 308 | Ceiling | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 35
308 | Unit 308 | Ceiling | Texture Finish | Asbestos | Previously Sampled | 1-4% Chrysotile | 300 SF | Good | C | Y | 3 | - |  | 35
308 | Unit 308 | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 35
410 | Unit 410 | Floor | Vinyl Floor Tile 2 | Asbestos | Visually Consistent with 16313-255RIV-ASB-09 | None Detected | - | - | - | - | - | - | VFT2- 12"X12" Beige with Brown Streaks | 36
410 | Unit 410 | Floor | Mastic | Asbestos | Visually Consistent with 16313-255RIV-ASB-09 | 2% Chrysotile | 500 SF | Good | D | N | 3 | - | Mastic present under VFT2 | 36
410 | Unit 410 | Ceiling | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 36
410 | Unit 410 | Ceiling | Texture Finish | Asbestos | Previously Sampled | 1-4% Chrysotile | 300 SF | Good | C | Y | 3 | - |  | 36
410 | Unit 410 | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 36
415 | Unit 415 | Floor | Vinyl Floor Tile 2 | Asbestos | Visually Consistent with 16313-255RIV-ASB-09 | None Detected | - | - | - | - | - | - | VFT2- 12"X12" Beige with Brown Streaks | 37
415 | Unit 415 | Floor | Mastic | Asbestos | Visually Consistent with 16313-255RIV-ASB-09 | 2% Chrysotile | 500 SF | Good | D | N | 3 | - | Mastic present under VFT2 | 37
415 | Unit 415 | Ceiling | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 37
415 | Unit 415 | Ceiling | Texture Finish | Asbestos | Previously Sampled | 1-4% Chrysotile | 300 SF | Good | C | Y | 3 | - |  | 37
415 | Unit 415 | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 37
601 | Unit 601 | Floor | Vinyl Floor Tile 3 and Mastic | Asbestos | Visually Consistent with 16313-255RIV-ASB-10 | 2% Chrysotile | 500 SF | Good | D | N | 3 | - | VFT3- 12"x12" Beige with Brown Lines and Associated Mastic | 38
601 | Unit 601 | Floor | Stick Ons | Asbestos | Not Sampled | Visually Negative | - | - | - | - | - | - | Stick-on tiles present over VFT3 | 38
601 | Unit 601 | Ceiling | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 38
601 | Unit 601 | Ceiling | Texture Finish | Asbestos | Previously Sampled | 1-4% Chrysotile | 300 SF | Good | C | Y | 3 | - |  | 38
601 | Unit 601 | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 38
705 | Unit 705 | Floor | Vinyl Floor Tile 3 and Mastic | Asbestos | Visually Consistent with 16313-255RIV-ASB-10 | 2% Chrysotile | 500 SF | Good | D | N | 3 | - | VFT3- 12"x12" Beige with Brown Lines and Associated Mastic | 39
705 | Unit 705 | Ceiling | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 39
705 | Unit 705 | Ceiling | Texture Finish | Asbestos | Previously Sampled | 1-4% Chrysotile | 300 SF | Good | C | Y | 3 | - |  | 39
705 | Unit 705 | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 39
814 | Unit 814 | Floor | Vinyl Floor Tile 2 | Asbestos | Visually Consistent with 16313-255RIV-ASB-09 | None Detected | - | - | - | - | - | - | VFT2- 12"X12" Beige with Brown Streaks | 40
814 | Unit 814 | Floor | Mastic | Asbestos | Visually Consistent with 16313-255RIV-ASB-09 | 2% Chrysotile | 400 SF | Good | D | N | 3 | - | Mastic present under VFT2 | 40
814 | Unit 814 | Floor | Vinyl Floor Tile 3 and Mastic | Asbestos | Visually Consistent with 16313-255RIV-ASB-10 | 2% Chrysotile | 100 SF | Good | A | N | 3 | - | VFT3- 12"x12" Beige with Brown Lines and Associated Mastic | 40
814 | Unit 814 | Ceiling | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 40
814 | Unit 814 | Ceiling | Texture Finish | Asbestos | Previously Sampled | 1-4% Chrysotile | 300 SF | Good | C | Y | 3 | - |  | 40
814 | Unit 814 | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 40
905 | Unit 905 | Floor | Vinyl Floor Tile 2 | Asbestos | Visually Consistent with 16313-255RIV-ASB-09 | None Detected | - | - | - | - | - | - | VFT2- 12"X12" Beige with Brown Streaks | 41
905 | Unit 905 | Floor | Mastic | Asbestos | Visually Consistent with 16313-255RIV-ASB-09 | 2% Chrysotile | 500 SF | Good | D | N | 3 | - | Mastic present under VFT2 | 41
905 | Unit 905 | Ceiling | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 41
905 | Unit 905 | Ceiling | Texture Finish | Asbestos | Previously Sampled | 1-4% Chrysotile | 300 SF | Good | C | Y | 3 | - |  | 41
905 | Unit 905 | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 41
917 | Unit 917 | Floor | Vinyl Floor Tile 3 and Mastic | Asbestos | Visually Consistent with 16313-255RIV-ASB-10 | 2% Chrysotile | 500 SF | Good | A | N | 3 | - | VFT3- 12"x12" Beige with Brown Lines and Associated Mastic | 42
917 | Unit 917 | Ceiling | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 42
917 | Unit 917 | Ceiling | Texture Finish | Asbestos | Previously Sampled | 1-4% Chrysotile | 300 SF | Good | C | Y | 3 | - |  | 42
917 | Unit 917 | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 42
1005 | Unit 1005 | Floor | Vinyl Floor Tile 3 and Mastic | Asbestos | Visually Consistent with 16313-255RIV-ASB-10 | 2% Chrysotile | 500 SF | Good | D | N | 3 | - | VFT3- 12"x12" Beige with Brown Lines and Associated Mastic present under laminate and stick-ons | 43
1005 | Unit 1005 | Ceiling | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 43
1005 | Unit 1005 | Ceiling | Texture Finish | Asbestos | Previously Sampled | 1-4% Chrysotile | 300 SF | Good | C | Y | 3 | - |  | 43
1005 | Unit 1005 | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 43
1011 | Unit 1011 | Floor | Vinyl Floor Tile 2 | Asbestos | Visually Consistent with 16313-255RIV-ASB-09 | None Detected | - | - | - | - | - | - | VFT2- 12"X12" Beige with Brown Streaks | 44
1011 | Unit 1011 | Floor | Mastic | Asbestos | Visually Consistent with 16313-255RIV-ASB-09 | 2% Chrysotile | 500 SF | Good | D | N | 3 | - | Mastic present under VFT2 | 44
1011 | Unit 1011 | Ceiling | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 44
1011 | Unit 1011 | Ceiling | Texture Finish | Asbestos | Previously Sampled | 1-4% Chrysotile | 300 SF | Good | C | Y | 3 | - |  | 44
1011 | Unit 1011 | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 44
1115 | Unit 1115 | Floor | Vinyl Floor Tile 2 | Asbestos | Visually Consistent with 16313-255RIV-ASB-09 | None Detected | - | - | - | - | - | - | VFT2- 12"X12" Beige with Brown Streaks | 45
1115 | Unit 1115 | Floor | Mastic | Asbestos | Visually Consistent with 16313-255RIV-ASB-09 | 2% Chrysotile | 500 SF | Good | D | N | 3 | - | Mastic present under VFT2 | 45
1115 | Unit 1115 | Ceiling | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 45
1115 | Unit 1115 | Ceiling | Texture Finish | Asbestos | Previously Sampled | 1-4% Chrysotile | 300 SF | Poor | C | Y | 1 | 2500 | Approx. 3 SF in POOR condition | 45
1115 | Unit 1115 | Walls | Plaster | Asbestos | 16313-255RIV-ASB-01F | None Detected | - | - | - | - | - | - |  | 45
1207 | Unit 1207 | Floor | Vinyl Floor Tile 3 and Mastic | Asbestos | Visually Consistent with 16313-255RIV-ASB-10 | 2% Chrysotile | 500 SF | Good | D | N | 3 | - | VFT3- 12"x12" Beige with Brown Lines and Associated Mastic present under laminate and stick-ons | 46
1207 | Unit 1207 | Ceiling | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 46
1207 | Unit 1207 | Ceiling | Texture Finish | Asbestos | Previously Sampled | 1-4% Chrysotile | 300 SF | Good | C | Y | 3 | - |  | 46
1207 | Unit 1207 | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 46
1403 | Unit 1403 | Floor | Vinyl Floor Tile 2 | Asbestos | Visually Consistent with 16313-255RIV-ASB-09 | None Detected | - | - | - | - | - | - | VFT2- 12"X12" Beige with Brown Streaks | 47
1403 | Unit 1403 | Floor | Mastic | Asbestos | Visually Consistent with 16313-255RIV-ASB-09 | 2% Chrysotile | 500 SF | Good | D | N | 3 | - | Mastic present under VFT2 | 47
1403 | Unit 1403 | Ceiling | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 47
1403 | Unit 1403 | Ceiling | Texture Finish | Asbestos | Previously Sampled | 1-4% Chrysotile | 300 SF | Good | C | Y | 3 | - |  | 47
1403 | Unit 1403 | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 47
1505 | Unit 1505 | Floor | Vinyl Floor Tile 3 and Mastic | Asbestos | Visually Consistent with 16313-255RIV-ASB-10 | 2% Chrysotile | 500 SF | Good | D | N | 3 | - | VFT3- 12"x12" Beige with Brown Lines and Associated Mastic | 48
1505 | Unit 1505 | Ceiling | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 48
1505 | Unit 1505 | Ceiling | Texture Finish | Asbestos | Previously Sampled | 1-4% Chrysotile | 300 SF | Good | C | Y | 3 | - |  | 48
1505 | Unit 1505 | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 48
1604 | Unit 1604 | Floor | Vinyl Floor Tile 2 | Asbestos | 16313-255RIV-ASB-09A | None Detected | - | - | - | - | - | - | VFT2- 12"X12" Beige with Brown Streaks | 49
1604 | Unit 1604 | Floor | Mastic | Asbestos | 16313-255RIV-ASB-09A | 2% Chrysotile | 500 SF | Good | D | N | 3 | - | Mastic present under VFT2 | 49
1604 | Unit 1604 | Ceiling | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 49
1604 | Unit 1604 | Ceiling | Texture Finish | Asbestos | Previously Sampled | 1-4% Chrysotile | 300 SF | Good | C | Y | 3 | - |  | 49
1604 | Unit 1604 | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 49
1712 | Unit 1712 | Floor | Vinyl Floor Tile 2 | Asbestos | Visually Consistent with 16313-255RIV-ASB-09 | None Detected | - | - | - | - | - | - | VFT2- 12"X12" Beige with Brown Streaks | 50
1712 | Unit 1712 | Floor | Mastic | Asbestos | Visually Consistent with 16313-255RIV-ASB-09 | 2% Chrysotile | 500 SF | Good | D | N | 3 | - | Mastic present under VFT2 | 50
1712 | Unit 1712 | Ceiling | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 50
1712 | Unit 1712 | Ceiling | Texture Finish | Asbestos | Previously Sampled | 1-4% Chrysotile | 300 SF | Good | C | Y | 3 | - |  | 50
1712 | Unit 1712 | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 50
1801 | Unit 1801 | Floor | Vinyl Floor Tile 2 | Asbestos | Visually Consistent with 16313-255RIV-ASB-09 | None Detected | - | - | - | - | - | - | VFT2- 12"X12" Beige with Brown Streaks | 51
1801 | Unit 1801 | Floor | Mastic | Asbestos | Visually Consistent with 16313-255RIV-ASB-09 | 2% Chrysotile | 500 SF | Good | D | N | 3 | - | Mastic present under VFT2 | 51
1801 | Unit 1801 | Ceiling | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 51
1801 | Unit 1801 | Ceiling | Texture Finish | Asbestos | Previously Sampled | 1-4% Chrysotile | 300 SF | Good | C | Y | 3 | - |  | 51
1801 | Unit 1801 | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 51
1806 | Unit 1806 | Floor | Vinyl Floor Tile 3 and Mastic | Asbestos | 16313-255RIV-ASB-10C | 2% Chrysotile | 500 SF | Good | D | N | 3 | - | VFT3- 12"x12" Beige with Brown Lines and Associated Mastic | 52
1806 | Unit 1806 | Ceiling | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 52
1806 | Unit 1806 | Ceiling | Texture Finish | Asbestos | Previously Sampled | 1-4% Chrysotile | 300 SF | Good | C | Y | 3 | - |  | 52
1806 | Unit 1806 | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 52
1906 | Unit 1906 | Floor | Vinyl Floor Tile 3 and Mastic | Asbestos | Visually Consistent with 16313-255RIV-ASB-10 | 2% Chrysotile | 400 SF | Good | D | N | 3 | - | VFT3- 12"x12" Beige with Brown Lines and Associated Mastic under existing floor | 53
1906 | Unit 1906 | Floor | Vinyl Sheet Flooring 1 | Asbestos | 16313-255RIV-ASB-12A to C | None Detected | - | - | - | - | - | - | VSF1- Square Flower Pattern | 53
1906 | Unit 1906 | Ceiling | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 53
1906 | Unit 1906 | Ceiling | Texture Finish | Asbestos | Previously Sampled | 1-4% Chrysotile | 300 SF | Good | C | Y | 3 | - |  | 53
1906 | Unit 1906 | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 53
2008 | Unit 2008 | Floor | Vinyl Floor Tile 3 and Mastic | Asbestos | Visually Consistent with 16313-255RIV-ASB-10 | 2% Chrysotile | 500 SF | Good | A | N | 3 | - | VFT3- 12"x12" Beige with Brown Lines and Associated Mastic | 54
2008 | Unit 2008 | Ceiling | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 54
2008 | Unit 2008 | Ceiling | Texture Finish | Asbestos | Previously Sampled | 1-4% Chrysotile | 300 SF | Good | C | Y | 3 | - |  | 54
2008 | Unit 2008 | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 54
2108 | Unit 2108 | Floor | Vinyl Floor Tile 1 | Asbestos | Visually Consistent with 16313-255RIV-ASB-08 | None Detected | - | - | - | - | - | - | VFT1- 12"x12" Grey with Dark Grey and White Streaks | 55
2108 | Unit 2108 | Ceiling | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 55
2108 | Unit 2108 | Ceiling | Texture Finish | Asbestos | Previously Sampled | 1-4% Chrysotile | 300 SF | Good | C | Y | 3 | - |  | 55
2108 | Unit 2108 | Walls | Plaster | Asbestos | 16313-255RIV-ASB-01G | None Detected | - | - | - | - | - | - |  | 55
2010 | Unit 2010 | Floor | Vinyl Floor Tile 2 | Asbestos | Visually Consistent with 16313-255RIV-ASB-09 | None Detected | - | - | - | - | - | - | VFT2- 12"X12" Beige with Brown Streaks | 56
2010 | Unit 2010 | Floor | Mastic | Asbestos | Visually Consistent with 16313-255RIV-ASB-09 | 2% Chrysotile | 500 SF | Good | D | N | 3 | - | Mastic present under VFT2 | 56
2010 | Unit 2010 | Ceiling | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 56
2010 | Unit 2010 | Ceiling | Texture Finish | Asbestos | Previously Sampled | 1-4% Chrysotile | 300 SF | Good | C | Y | 3 | - |  | 56
2010 | Unit 2010 | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 56
2111 | Meeting Room | Floor | Vinyl Floor Tile 1 | Asbestos | 16313-255RIV-ASB-08A to C | None Detected | - | - | - | - | - | - | VFT1- 12"x12" Grey with Dark Grey and White Streaks | 57
2111 | Meeting Room | Floor | Vinyl Floor Tile 3 and Mastic | Asbestos | 16313-255RIV-ASB-10B | 2% Chrysotile | 250 SF | Good | A | N | 3 | - | VFT3- 12"x12" Beige with Brown Lines and Mastic | 57
2111 | Meeting Room | Floor | Vinyl Floor Tile 4 | Asbestos | Visually Consistent with 16313-255RIV-ASB-11 | 2% Chrysotile | 100 SF | Good | A | N | 3 | - | VFT4- 12"x12" Beige with Brown and Yellow Streaks | 57
2111 | Meeting Room | Ceiling | Texture Finish | Asbestos | Previously Sampled | 1-4% Chrysotile | 400 SF | Good | C | Y | 3 | - |  | 57
2111 | Meeting Room | Walls | Drywall Joint Compound | Asbestos | Visually Consistent with 16313-255RIV-ASB-02 | None Detected | - | - | - | - | - | - |  | 57
2111 | Meeting Room | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 57
2112 | Game Room | Floor | Vinyl Floor Tile 1 | Asbestos | Visually Consistent with 16313-255RIV-ASB-08 | None Detected | - | - | - | - | - | - | VFT1- 12"x12" Grey with Dark Grey and White Streaks | 58
2112 | Game Room | Ceiling | Texture Finish | Asbestos | Previously Sampled | 1-4% Chrysotile | 400 SF | Good | C | Y | 3 | - |  | 58
2112 | Game Room | Ceiling | Drywall Joint Compound | Asbestos | Visually Consistent with 16313-255RIV-ASB-02 | None Detected | - | - | - | - | - | - |  | 58
2112 | Game Room | Walls | Drywall Joint Compound | Asbestos | Visually Consistent with 16313-255RIV-ASB-02 | None Detected | - | - | - | - | - | - |  | 58
2112 | Game Room | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 58
ST-01 | Basement Stairwell | - | - | - | - | - | - | - | - | - | - | - | No suspect ACM identified. | 59
ST-02 | Stairwell - All Floors | Walls | Foundation Finish | Asbestos | 16313-255RIV-ASB-04A to C | None Detected | - | - | - | - | - | - |  | 60
ST-03 | Stairwell - All Floors | Walls | Foundation Finish | Asbestos | 16313-255RIV-ASB-04D to E | None Detected | - | - | - | - | - | - |  | 61
02-51 to 21-51 | Garbage Chute - All Floors | - | - | - | - | - | - | - | - | - | - | - | No suspect ACM identified. | 62
02-50 to 21-50 | Electrical Closet - All Floors | - | - | - | - | - | - | - | - | - | - | - | No suspect ACM identified. | 63
200 to 700 and 900 to 2000 | Corridors (2nd to 7th and 9th to 20th Floors) | Ceiling | Texture Finish | Asbestos | 16313-255RIV-ASB-03A to E | 2% Chrysotile | 1000 SF | Good | C | Y | 3 | - |  | 64
200 to 700 and 900 to 2000 | Corridors (2nd to 7th and 9th to 20th Floors) | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 64
800 and 2100 | Corridors (8th and 21st Floors) | Ceiling | Ceiling Tile 1 | Asbestos | 16313-255RIV-ASB-14C | None Detected | - | - | - | - | - | - | CT1- 2'x4' Small Pinhole Small Fissure | 65
800 and 2100 | Corridors (8th and 21st Floors) | Ceiling | Ceiling Tile 2 | Asbestos | 16313-255RIV-ASB-15B and C | 2% Amosite | 600 SF | Good | C | Y | 3 | - | CT2- 2'x4' Lengthwise Fissure | 65
800 and 2100 | Corridors (8th and 21st Floors) | Ceiling | Ceiling Tile 3 | Asbestos | 16313-255RIV-ASB-16B and C | None Detected | - | - | - | - | - | - | CT3- 2'x4' Widthwise Fissure | 65
800 and 2100 | Corridors (8th and 21st Floors) | Walls | Plaster | Asbestos | Visually Consistent with 16313-255RIV-ASB-01 | None Detected | - | - | - | - | - | - |  | 65
2201 | Stairwell | Walls | Foundation Finish | Asbestos | 16313-255RIV-ASB-04F to G | None Detected | - | - | - | - | - | - |  | 66
2202 | Elevator Machine Room | - | - | - | - | - | - | - | - | - | - | - | No suspect ACM identified. | 67
2203 | Mechanical Room | - | - | - | - | - | - | - | - | - | - | - | No suspect ACM identified. | 68
2204 | Bell Telephone Room | - | - | - | - | - | - | - | - | - | - | - | No access to location during 2016 ECOH Survey. | 69
2200 | Open Roof Area | Roof | Roofing Materials | Asbestos | Not Sampled | ACM Assumed | 10000 SF | Good | A | N | 3 | - |  | 70
Notes
Additional Asbestos Containing Materials (ACM) may be present within concealed locations throughout the facility (i.e. above solid ceilings, within walls, pipe chases, etc.) or presumed to be present as detailed in the "Designated Substances Scope of Work and Methodology Report, dated April 2016, prepared by ECOH.
Lead-based paints (i.e. concentrations of lead equal to or greater than 0.5%) were not identified during the assessment.
Mercury is present within thermostats throughout the facility. Minor quantities are present as vapour within fluorescent light tubes and as a possible consituent of paints and adhesives.
Silica is present in all concrete and masonry products.